IMPACT OF POWER SUPPLY INTERRUPTIONS ON

DATA AVAILABILITY AND INTEGRITY IN IOT

HEALTHCARE SYSTEMS

GROUP NUMBER 6

DAWKINS OUMA1 , VICTOR MAPINGA2 ,

University of Eastern Africa, Baraton ,Eldoret  Kenya

dawkinsou@ueab.ac.ke1,   svicma2111@ueab.ac.ke2

Abstract:

The use of Internet of Things (IoT) technology in healthcare has transformed how patient data is collected and shared in real time. Yet, these systems rely on a steady power supply to stay reliable. This study explores how power supply interruptions affect data availability and integrity in IoT-enabled healthcare infrastructures. It looks at what happens to patient information when outages or unstable backup systems interrupt data flow. Using a mix of system analysis, staff interviews, and simulated power disruptions, the research measures how power instability leads to data loss or errors. The findings aim to support the creation of stronger backup systems and fault-tolerant IoT designs that can keep healthcare data safe and accessible. In the end, this study seeks to help healthcare facilities deliver dependable digital care, even in areas where power interruptions are common.

Keywords:

•Internet of Things (IoT)

•Healthcare infrastructure

•Power supply interruptions

•Data availability

•Data integrity

•System reliability

•Power outages

•Backup systems

•Fault-tolerant architecture

•Energy efficiency

1.0  INTRODUCTION

In today’s healthcare systems, information is as vital as medicine. Hospitals now depend on Internet of Things (IoT) technologies to collect, transmit, and analyze patient data in real time. Wearable sensors track vital signs, and connected medical devices support diagnosis and treatment, turning healthcare into a digital network. This interconnectivity enables faster decision-making, remote monitoring, and higher efficiency. Yet, behind this progress lies a critical weakness — dependence on electricity. Even with backup generators and uninterruptible power supplies, power instability remains a major challenge. Short transition delays, voltage drops, or limited backup coverage can briefly interrupt IoT communication, causing data loss, delayed transmissions, or corruption. For systems that rely on continuous data flow, these disruptions threaten both data integrity and patient safety.

Much research has examined energy efficiency and cybersecurity in IoT-based healthcare, but little focuses on the effect of power instability on data reliability. In many developing regions where grid power is inconsistent, this risk is higher. Understanding how power fluctuations affect data integrity and availability is vital to ensuring reliable healthcare systems. This study investigates how interruptions in power supply influence data flow in IoT-enabled healthcare infrastructures. It analyzes how transient power fluctuations disrupt data accuracy and aims to propose resilient, fault-tolerant IoT architectures that maintain reliable medical data even under unstable power conditions.

2.0  PROBLEM STATEMENT

The adoption of Internet of Things (IoT) systems in healthcare has made hospitals increasingly data-

driven, improving patient monitoring, diagnostics, and treatment accuracy. However, the reliability of

these systems still depends on a consistent power supply. While many healthcare facilities use backup

generators and uninterruptible power systems, they do not fully eliminate the effects of power instability.

Short transition gaps, voltage fluctuations, and incomplete backup coverage can interrupt IoT device

communication, cause data packet loss, and corrupt ongoing data transmission. These disruptions

compromise both the availability and integrity of sensitive patient information.

Most existing studies focus on energy efficiency or power optimization in IoT systems but rarely

investigate the data-level consequences of power interruptions. As a result, there is limited understanding

of how transient power disturbances affect the accuracy, completeness, and accessibility of healthcare

data. This gap exposes healthcare infrastructures to risks such as incomplete patient records, delayed

system responses, and potential errors in medical decision-making.

This study therefore investigates the impact of power supply interruptions on data availability and

integrity in IoT-enabled healthcare infrastructures. By examining how momentary power fluctuations

influence data flow, storage, and accuracy, the research seeks to generate practical insights for developing

resilient, fault-tolerant IoT architectures capable of maintaining data reliability even under unstable power

conditions.

Citation

(A. Prudenzi; Andrea, n.d.; Priyadarshini et al., 2023; Rejeb et al., 2023)

Reference

A. Prudenzi; Andrea, F. ; (n.d.). A low-cost IoT solution for power availlability improrovements in

hospitals. https://doi.org/DOI: 10.24084/repqj16.389

Priyadarshini, R., Shaikh, N., Godi, R. K., Dhal, P. K., Sharma, R., & Perwej, Y. (2023). IOT-based

power control systems framework for healthcare applications. Measurement: Sensors, 25, 100660.

https://doi.org/10.1016/J.MEASEN.2022.100660

Rejeb, A., Rejeb, K., Treiblmaier, H., Appolloni, A., Alghamdi, S., Alhasawi, Y., & Iranmanesh, M.

(2023). The Internet of Things (IoT) in healthcare: Taking stock and moving forward. Internet of

Thin`gs, 22, 100721. https://doi.org/10.1016/J.IOT.2023.100721