IMPACT OF POWER SUPPLY INTERRUPTIONS ON DATA AVAILABILITY AND INTEGRITY IN IOT HEALTHCARE SYSTEMS

DAWKINS OUMA1 , VICTOR MAPINGA2 ,

University of Eastern Africa, Baraton Eldoret Kenya

dawkinsou@ueab.ac.ke1

Abstract:The use of Internet of Things (IoT) technology in healthcare has transformed how patient data is collected and shared in real time. Yet, these systems rely on a steady power supply to stay reliable. This study explores how power supply interruptions affect data availability and integrity in IoT-enabled healthcare infrastructures. It looks at what happens to patient information when outages or unstable backup systems interrupt data flow. Using a mix of system analysis, staff interviews, and simulated power disruptions, the research measures how power instability leads to data loss or errors. The findings aim to support the creation of stronger backup systems and fault-tolerant IoT designs that can keep healthcare data safe and accessible. In the end, this study seeks to help healthcare facilities deliver dependable digital care, even in areas where power interruptions are common.

Keywords:

- Internet of Things (IoT)

- Healthcare infrastructure

- Power supply interruptions

- Data availability

- Data integrity

- System reliability

- Power outages

- Backup systems

- Fault-tolerant architecture

- Energy efficiency

1.0 INTRODUCTION

In today’s healthcare systems, information has become as vital as medicine. Hospitals increasingly rely on Internet of Things (IoT) technologies to collect, transmit, and analyze patient data in real time. From wearable sensors that track vital signs to networked devices that support diagnosis and treatment, IoT has transformed healthcare into a connected digital ecosystem. This interconnectivity allows for faster decision-making, remote patient monitoring, and improved operational efficiency. However, behind this technological progress lies a fragile dependency — electricity.

Even though most hospitals use backup generators and uninterruptible power supplies, power stability remains a significant challenge. Short transition delays, voltage fluctuations, and uneven backup coverage can briefly interrupt IoT device communication. During these moments, data packets may be lost, transmissions delayed, or stored information corrupted. For healthcare systems that depend on continuous data streams, such disruptions threaten not only data integrity but also patient safety.

While much research has explored energy optimization and security in IoT-based healthcare, few studies focus on how power instability directly affects the reliability of medical data. In many developing regions, where grid power remains inconsistent, the risk is even greater. Understanding this relationship is essential for building systems that can sustain accurate and accessible health information despite power disturbances.

This study investigates how power supply interruptions influence data availability and integrity in IoT-enabled healthcare infrastructures. By analyzing how transient power fluctuations disrupt data flow and accuracy, the research aims to propose resilient and fault-tolerant IoT architectures capable of maintaining data reliability even under unstable power conditions.

1.1 PROBLEM STATEMENT

The adoption of Internet of Things (IoT) systems in healthcare has made hospitals increasingly data-driven, improving patient monitoring, diagnostics, and treatment accuracy. However, the reliability of these systems still depends on a consistent power supply. While many healthcare facilities use backup generators and uninterruptible power systems, they do not fully eliminate the effects of power instability. Short transition gaps, voltage fluctuations, and incomplete backup coverage can interrupt IoT device communication, cause data packet loss, and corrupt ongoing data transmission. These disruptions compromise both the availability and integrity of sensitive patient information.

Most existing studies focus on energy efficiency or power optimization in IoT systems but rarely investigate the data-level consequences of power interruptions. As a result, there is limited understanding of how transient power disturbances affect the accuracy, completeness, and accessibility of healthcare data. This gap exposes healthcare infrastructures to risks such as incomplete patient records, delayed system responses, and potential errors in medical decision-making.

This study therefore investigates the impact of power supply interruptions on data availability and integrity in IoT-enabled healthcare infrastructures. By examining how momentary power fluctuations influence data flow, storage, and accuracy, the research seeks to generate practical insights for developing resilient, fault-tolerant IoT architectures capable of maintaining data reliability even under unstable power conditions.